## ESTIMATE FOR BIR NIBASH-21
Government of The People's Republic of Bangladesh
Ministry of Liberation War Affairs
Tender Schedule
FY-2021-2022
Project Name: |  | Housing Construction Project for the Insolvent Freedom Fighters
Project Code: |  | 224335800
Division: …………………………………. District:………………………………………… |  |  |  |  | Upazila:……………………….
ESTIMATE FOR CONSTRUCTION OF RESIDENTIAL BUILDING FOR HARD-UP FREEDOM FIGHTERS OF BANGLADESH (BIR NIBASH)
PART-A:ESTIMATE FOR CIVIL WORKS
Item No | PWD Schedule Sl No: | Description of Work | Unit | Qty | Unit Rate (TK) | Amount (TK)
1 | 2.1.1 | Layout and marking for earthwork in excavation in foundation accepted by the Engineer-in-charge. | Sqm | 59.02 | 15 | 885.3
2 | 3.7 | Supplying and laying of single layer polythene sheet weighing one kilogram per 6.5 square meter in floor or any where below cement concrete complete in all respect and accepted by Engineer-in-charge. | Sqm | 82.42 | 42 | 3461.64
3 | 2.1.4 | Earth work in excavation in all kinds of soil for foundation trenches including layout, providing center lines, local bench-mark pillars, levelling, ramming and preparing the base, fixing bamboo spikes and marking layout with chalk powder, providing necessary tools and plants, protecting and maintaining the trench dry etc., stacking, cleaning the excavated earth at a safe distance out of the area enclosed by the layout etc. all complete and accepted by the Engineer-in-charge, subject to submit method statement of carrying out excavation work to the Engineer-in-charge for approval. However, engineer‟s approval shall not relieve the contractor of his responsibilities and obligations under the contract. foundation trenches up to 1.5 m depth and maximum 10 m lead: in very stiff (hard) clayey soil/ rubbish etc. | Cum | 12.2 | 189 | 2305.8
4 | 3.4.1 | Mass concrete (1:3:6) in foundation or in floor with cement, sand (F.M. 1.2) and picked jhama brick chips including breaking of chips, screening, mixing, laying, compacting to required level and curing for at least 7 days including the supply of water, electricity, costs of tools & plants and other charges etc. all complete and accepted by the Engineer-incharge.(Cement: CEM-II/A-M) Mass concrete in foundation (1:3:6) with cement, brick chips and sand of F.M. 1.2 | Cum | 5.72 | 6647 | 38020.84
5 | 3.1 | One layer brick flat soling in foundation or in floor with first class/picked jhama bricks including preparation of bed and filling the interstices with local sand, leveling etc. complete and accepted by the Engineer-in-charge | Sqm | 56.85 | 420 | 23877
6 | 2.10.1 | Sand filling in foundation trenches and plinth with sand having F.M. 0.5 to 0.8 in 150 mm layers including leveling, watering and compaction to achieve minimum dry density of 95% with optimum moisture content (Modified proctor test) by ramming each layer up to finished level as per design supplied by the design office only, all complete and accepted by the Engineer-in-charge. | Cum | 25.98 | 635 | 16497.3
7 | 3.6.1 | Damp proof course (DPC) (1:1.5:3) of cement concrete with cement, sand and picked jhama brick chips or stone chips including breaking of chips, screening, centering, shuttering, casting, curing and finishing with a coat of bitumen including the supply of water, electricity, costs of tools & plants and other charges etc. all complete and accepted by Engineer-in-charge. (Cement: CEM-II/A-M) 75 mm thick damp proof course (1:1.5:3) with cement, 50% Sylhet sand (F.M. 2.2) & 50% local sand (F.M. 1.2) and picked jhama brick chips. | Sqm | 12.25 | 1095 | 13413.75
8 | 4.1 | Brick works with first class bricks with cement sand (F.M. 1.2) mortar (1:6) in foundation and plinth, filling the joints/interstices fully with mortar, racking out the joints, cleaning and soaking the bricks at least for 24 hours before use and curing at least for 7 days etc. all complete including cost of water, electricity and other charges and accepted by the Engineer-in-charge. | Cum | 24.66 | 6040 | 148946.4
9 | 4.16 | 125 mm brick works with first class bricks with cement sand (F.M. 1.2) mortar (1:4) and making bond with connected walls including necessary scaffolding, raking out joints, cleaning and soaking the bricks for at least 24 hours before use and washing of sand, curing at least for 7 days in all floors including cost of water, electricity and other charges etc. all complete and accepted by the Engineer-in-charge. (Cement: CEM-II/A-M) In ground floor | Sqm | 82.02 | 948 | 77754.96
10 | 7.1 | Reinforced cement concrete works with minimum cement content relates to mix ratio 1:2:4 having minimum f'cr = 24 MPa, satisfying a specified compressive strength f'c= 19 MPa at 28 days on standard cylinders as per standard practice of Code ACI/BNBC/ASTM, cement conforming to BDS EN-197-1-CEM-I, 52.5N (52.5 MPa) / ASTM-C 150 Type – I, best quality sand [50% quantity of best local sand (F.M. 1.2) and 50% quantity of Sylhet sand or coarse sand of equivalent F.M. 2.2] and 20 mm down well graded picked jhama brick chips conforming to ASTM C-33 including breaking chips and screening, making and placing shutter in position maintaining true to plumb, making shutter water-tight properly, placing reinforcement in position; mixing in standard mixer machine with hopper fed by standard measuring boxes or mixing in batching plant, casting in forms, compacting by vibrator machine and curing at least for 28 days, removing centering-shuttering after specified time approved; including cost of water, electricity, testing charges of materials and cylinders as required, other charges etc. all complete, approved and accepted by the Engineer-in-charge. (Rate is excluding the cost of reinforcement and its fabrication, placing, binding etc. and the cost of shuttering & centering) Formwork/Shuttering, Props and necessary support wooden shutter |  |  |  | 0
| 7.1.3 | Concrete:Lintel | Cum | 1.13 | 7602 | 8590.26
| 7.15.4 | Formwork Lintel | Sqm | 12.67 | 417 | 5283.39
| 7.1.3 | Roof Slab Concrete | Cum | 6.09 | 7602 | 46296.18
| 7.15.6 | 8.4(B) Formwork /shuttering,Props and Necessary support:Slab | Sqm | 57.14 | 456 | 26055.84
| 7.1.4 | RCC Sunshade + false ceiling | Cum | 0.62 | 7944 | 4925.28
| 7.15.8 | Formwork /shuttering,Props and Necessary support:SlabSunshade + false ceiling | Sqm | 8.04 | 399 | 3207.96
11 | 15.4 | Minimum 12 mm thick cement sand (F.M. 1.2) plaster (1:6) having with fresh cement to both inner and outer surface of wall, finishing the edges and corners including washing of sand, cleaning the surface, curing at least for 7 days, cost of water, electricity, scaffolding and other charges etc. all complete in all respect as per drawing and accepted by the Engineer-in-charge. (Cement: CEM-II/A-M) ground floor. | Sqm | 345.4 | 228 | 78751.2
12 | 8.1.2 | 60 -grad Deformed Bar:-Grade 400 (RB 400 /RB 400W: complying BDS ISO 6935-2:2006) ribbed or deformed bar produced and marked according to Bangladesh standard, with minimum yield strength, fy (ReH)= 400 MPa but fy not exceeding 450 MPa and whatever is the yield strength within allowable limit as per BNBC/ ACI 318, the ratio of ultimate tensile strength fu to yield strength fy, shall be at least 1.25 and minimum elongation after fracture and minimum total elongation at maximum force is 16% and 8% respectively : up to ground floor. | Kgs | 1007 | 82 | 82574
13 | 6.1.1 | Supplying, fitting and fixing country made GP(Gress Porcellanto) - glazed or unglazed homogeneous floor tiles complying BDS ISO 13006: 2015, water absorbtion ≤ 0.5%, modulus of rupture (MOR) ≥ 27 N/mm2 , irrespective of color &/or design, with cement sand (F.M. 1.2) mortar (1:4) base and raking out the joints with white cement including cutting and laying the tiles in proper way and finishing with care etc. all complete and accepted by the Engineer-in-charge. (Cement: CEM-II/A-M). In ground floor GP (homogeneous) 300 mm x 300 mm floor tiles | Sqm | 60.33 | 1526 | 92063.58
14 | 6.6.1 | Supplying, fitting and fixing country made glazed wall tiles complying BDS ISO 13006: 2015, accepted by the Engineer-in-charge. (Cement: CEM II/A-M). In ground floor.Wall tiles less than, equal or equivalent to 250 mm x 330 mm in sizes | Sqm | 35.86 | 1271 | 45578.06
15 | 14.6.1.2 | Supplying, fitting and fixing of aluminium sliding window as per the U.S. Architectural Aluminium Manufacturer‟s Association (AAMA) standard specification and BDS 1879:2014 having 1.2 mm thick outer bottom (size 75.50 mm, 32mm), 1.2 mm thick outer top (size 75.50 mm, 16.80 mm), 1.2 mm thick shutter top (size 33 mm.26.80, 22 mm), 1.2 mm thick shutter bottom (size 60mm, 24.40 mm), 1.2 mm thick outer side (size 75.50 mm,19.90 mm), 1.2 mm thick shutter lock (size 49.20 mm 26.20 mm) and 1.2 mm thick inter lock (size 34.40 mm, 32.10 mm) sections all aluminium members (total weight kg/sqm) will be anodized to aluminium bronze/silver/ss/black colour with a coat not less than 15 micrones in thickness or powder coated to any colour with a coat not less than 25 micrones in thickness and density of 4 mg per square cm etc. including all accessories like sliding door key lock, sliding door wheel, sliding door mohiar, sliding door neoprene, bolts and nuts including sealants, keeping provision for fitting 5 mm thick glass including labour charge for fitting of accessories, making grooves and mending good damages, carriage, and electricity complete in all respect as per drawing and accepted by the Engineer-in-charge.Size up to: 1500 mm x 1400 mm. (total weight minimum 9.081 kg)Anodized to bronze colour | Sqm | 17.05 | 3563 | 60749.15
16 | 14.14.2.1 | 5 mm thick tinted glass Supplying, fitting and fixing in Aluminium windows frames distortion free glass of approved quality and shade including cost of fitting fixing all necessary accessories etc. complete in all respect as per drawing and accepted by the Engineer-in-charge. | Sqm | 17.05 | 1352 | 23051.6
17 | 13.4.2 | Supplying, fitting and fixing window grill made of M.S. section 25 mm x 6mm outer frame and 20 mm x 5 mm inner member as per drawing and design approved and accepted by the Engineer-in-charge. (Total weight per sqm should be min 14 kg. and add or deduct @ Tk. 130.00 for each kg/sqm excess or less respectively) | Sqm | 17.05 | 1825 | 31116.25
18 | 22.21 | Supplying fitting & fixing of uPVC plastic door frame having specific gravity 1.35 - 1.45, and other physical, chemical, thermal, fire resistivity properties etc. as per BSTI approved manufacturer standards or ASTM, BS/ISO/IS standards fitted and fixed in brick wall/ R.C.C wall with 6 Nos. GI clamp, 4 nos inner joint GI clamp, 2 nos. outer GI joint clamp, 16 nos. rivet making necessary grooves and mending good the damages, finishing, curing, carriage etc complete in all respect accepted by the Engineer-in-charge 2 Nos Toilet door Size=30"X84" | Rm | 10.06 | 278 | 2796.68
19 | 22.12.2 | Supplying, fitting, fixing of uPVC solid plastic door shutter having specific gravity of 1.35 - 1.45, thickness 1.7 mm-2.2 mm, and other physical, chemical, thermal, fire resistivity properties etc. as per BSTI approved manufacturer standards or ASTM, BS/ISO/IS standards of different sizes, fitted fixed with uPVC plastic door frame weighing 5.82 kg/m2 with at least 3 Nos. SS hinges by min 64 Nos. Ø 3.17 mm and 3.97 mm 12.7 mm long rivets, 12 nos. 25.4 mm SS screws, Ø 9.38 mm, 150 mm long SS tower bolts 2 nos., 146 mm SS handle by rivet 2 Nos., G.I inner joint, 234.95 mm x 127 mm clamp, 76.2 mm x 57.15 mm, 25 mm dia 1 no ss haspbolt, special type round lock, carrying the same to the site and local carriage etc. complete in all respect and accepted by the Engineer-in charge.760 mm x 2130 mm uPVC plastic shutter (solid) | Each | 2 | 3762 | 7524
20 | 11.1.2 | Supplying and making door frames (Chowkat) for all floors with matured seasoned wood of required size. Painting two coats of coal tar to the surface in contact with wall. Fitting and fixing in position etc. all complete and accepted by the Engineer-in charge. (All sizes of wood are finished) Garjan/ Jam/ Local sal | Cum | 0.13 | 130410 | 16953.3
21 | 12.2.2 | Door Shutter:Supplying, fitting and fixing 38 mm thick well matured seasoned (minimum 250 mm wide plank) solid wood single leaf flush door shutter having a frame of top, lock and bottom rail of sections 100 mm x 12 mm styles 100 mm x 38 mm covered with 100 mm x 12 mm plank, screwed to each face and provided with best quality 4 nos 100 mm iron hinges, 2 (two) nos best quality 12 mm dia 250 mm and 200 mm long iron tower and socket bolts, 1 (one) no best quality hasp bolt, 2 (two) nos heavy type nickel plated handles, hinged cleats, buffer blocks and finished by sand papering etc. all complete in all floors and accepted by the Engineer-in-charge. (All sizes of wood are finished) Gamari | Sqm | 6.61 | 5386 | 35601.46
22 | 16.9 | French polishing to door frames and shutter by three coats over a coat of priming including putty, cleaning, finishing and polishing with sand paper etc. all complete in all floors and accepted by the Engineer-in-charge.Door frame. | Sqm | 10.63 | 372 | 3954.36
23 | 16.2.1 | Plastic Paint Interior standard acrylic emulsion paint (plastic or matt finish) of approved best quality and colour delivered from authorized local agent of the manufacturer (Berger robbialac plastic emulsion/Asian apcolite plastic emulsion or equivalent brand) in a sealed container; applying to interior wall and ceiling with surface preparation including cleaning drying, making free from dirt, grease, wax, removing all chalked and scaled materials, fungus, mending good the surface defects using sand paper and necessary scaffolding; applying 1 coat of interior sealer of specified brand on prepared surface; then applying 1 coat of interior putty of specified brand for levelling, spot filling, crack filling and cutting by sand paper/zero water paper; finally applying 2 coats of interior emulsion paint spreading by brush/roller/spray & necessary scaffolding etc. upto desired finishing, elapsing specified time for drying or recoating; all complete in all floors and accepted by the Engineer-in charge. | Sqm | 212.61 | 234 | 49750.74
24 | 16.1.1 | Weather Coat: Exterior standard acrylic emulsion paint of approved best quality and color having water resisting properties and resistance properties against fungi, fading & flaking delivered from authorized local agent of the manufacturer (Berger weather coat smooth/ Elite smooth exterior/ Asian apex weather coat or equivalent brand) in a sealed container; applying to exterior surface with surface preparation including cleaning, drying, making free from dirt, grease, wax, removing all chalked and scaled materials, fungus, mending good the surface defects using sand paper and necessary scaffolding; applying 1 coat of exterior sealer of specified brand on prepared surface; then applying 1 coat of exterior putty of specified brand for levelling, spot filling, crack filling and cutting by sand paper/zero water paper; finally applying 2 coats of exterior emulsion paint spreading by brush/roller/spray & necessary scaffolding etc. upto desired finishing, elapsing specified time for drying or recoating; all complete in all floors and accepted by the Engineer-in charge. | Sqm | 132.79 | 238 | 31604.02
25 | 16.3.1 | Standard synthetic enamel paint of approved best quality and colour delivered from authorized local agent of the manufacturer (Berger jhilik synthetic enamel/Elite quick drying/Asian decora synthetic enamel or equivalent brand) in a sealed container, having high water resistance, high bondibility, flexibility property; using specified brand thinner applying to metallic or wooden surface by brass/roller/spray in 2 coats over single coat anti-corrosive coating including cleaning, drying, making free from dirt, grease, wax, removing all chalked and scaled materials, all complete in all floors and accepted by the Engineer-in-charge. | Sqm | 17.05 | 189 | 3222.45
26 | 4.29 | Roof top water proofing:38 mm thick artificial patent stone (1:2:4) flooring with cement, best quality coarse sand (50% quantity of Sylhet sand or coarse sand of equivalent F.M. 2.2 and 50% best quality local sand of FM 1.2) and 12 mm down well graded stone chips, laying the concrete in alternate panels, compacting and finishing the top with neat cement and curing at least for 7 days in all floors including cost of water, electricity and other charges etc. all complete and accepted by the Engineer-in-charge. Cement: (CEM-II/A-M) In ground floor | Sqm | 54.73 | 583 | 31907.59
27 | MP | Supplying, fitting and fixing of Marble stone with sketching picture of 7th March speech of Bangabandhu Sheikh Mujibur Rahman Lettering the project name Below the picture on white colour Granite stone with 18mm thick Italian or equivalent origin granite stone of approved quality, texture and size over brick wall surface with cement sand (F.M. 1.2) mortar (1:2) including. placing cement slurry below the stone, cutting the granite stone to desired size, grinding and finishing the edges, setting in position in proper level, filling the gaps with white cement and colouring pigments including supplying all necessary equipments/materials and finishing the top by pumice stone and necessary auxiliary materials and water, electricity and another lettering on surface of plastering wall infornt of building by weather coat painting as per drawing and perspective view other charges complete in all respect accepted by the Engineer-in charge. | Nos | One Job | 15000 | 15000
a) Marble stone size: 30"x24" lettering on stone on front wall surface is as per drawing, design and instruction of Engineer-in charge.
b)(i) Name of the House as per Perspective view on the surface of front wall (Including sacffolding, labor cost ,weather coat ,etc) ”বীর নিবাস মুজিব বর্ষে মাননীয় প্রধানমন্ত্রী শেখ হাসিনার উপহার” size:6'-0"x1'-6" (ii) 18" diameter Marble Stone Logo of Freedom Fighter's on the surface of front wall as per Perspective view.
Sub-Total TK (Part-A) = | [5 empty] | 1031720.34
PART-B: SANITARY & WATER SUPPLY WORKS
Item No | PWD Schedule Sl No: | Description of Work | Unit | Qty | Unit Rate (TK) | Amount (TK)
1 | 26.3.1.1 | Supplying, fitting and fixing of European type glazed porcelain combi closet, including plastic seat cover, cistern system, preparing the base with cement concrete and with wire mesh or rods if necessary, in all floors including making holes wherever required and mending good the damages and fitting, fixing, finishing etc. complete with all necessary fittings and connections approved and accepted by the Engineer- in- charge.Light Colored (Ivory/ Alpine White/ Grey/ Pink/ Blue/ Aqua Verde) | Nos | 1 | 8320 | 8320
2 | 26.5.1.1 | Supplying, fitting and fixing of Bangladesh pattern, long pan with foot-rest, made of vitreous China clay and preparing the base of pan with cement mortar (1:4) and with wire mesh or rods, if necessary in all floors including making holes wherever required and mending good the damages and fitting, fixing, finishing etc. complete with all necessary fittings and connections approved and accepted by the Engineer- in- charge.White colour 530 mm x 430 mm x 210 mm size & 12.5 kg of weight | Nos | 1 | 1737 | 1737
3 | 26.2.1 | Supplying, fitting and fixing of European type glazed porcelain low-down, capacity 10 liter, 490 mm x 190 mm x 350 mm in size, approximately 14 kg of weight, on walls by screws and F.I. bar clamps, rowel plugs, making holes wherever required and mending good the damages and fitting, fixing & finishing etc. complete with all necessary fittings and connections approved and accepted by the Engineer- in- charge.White colour | Nos | 2 | 2228 | 4456
4 | 26.9.5.1 | Supplying, fitting and fixing of white glazed vitreous W/H wash basin excluding pedestal, fitting, fixing the same in position with heavy type C.I. Brackets. 30 mm dia PVC waste water pipe with brass coupling (not exceeding 750 mm in length), basin waste with chain plug including making holes in walls and floors and fitting with wall, screws and mending good the damages, finishing etc. all complete approved and accepted by the Engineer-in-charge.465 mm x 340 mm x180 mm, 6kg of weight White | Nos | 2 | 1871 | 3742
5 | 26.19 | Supplying, fitting and fixing of 450 mm x 350 mm size and 5 mm thick unframed super quality mirror with hard boards at the back with all necessary fitting including making holes in walls and mending good the damages with cement mortar (1:4) etc. all complete approved and accepted by the Engineer-in-charge (Made in Japan or equivalent). | Nos | 2 | 675 | 1350
6 | 26.21 | Supplying, fitting and fixing of super quality 600 x 125 mm white glass shelf having 5 mm thickness with fancy C.P. brackets, screws and frames including making holes in walls and mending good the damages with cement mortar (1:4) etc. all complete approved and accepted by the Engineer- in- charge. | Nos | 2 | 989 | 1978
7 | 26.23 | Supplying, fitting and fixing of medium quality C.P. towel rail of 600 mm long and 20 mm in dia with C.P. holder including making drills in walls and mending good the damages with cement mortar (1:4) etc. all complete approved and accepted by the Engineer- in charge. | Nos | 2 | 627 | 1254
8 | 26.24.1 | Supplying, fitting and fixing of standard porcelain toilet paper holder of 150 mm x 150 mm x 126 mm size including making drills in walls and mending good the damages with cement mortar (1:4) etc. all complete approved and accepted by the Engineer- in- charge. Light Colored | Nos | 2 | 353 | 706
9 | 26.26.1 | Supplying, fitting and fixing of standard size soap tray including making holes in walls and mending good the damages with cement mortar (1:4) etc. all complete approved and accepted by the Engineer- in- charge. C.P. soap tray | Nos | 2 | 242 | 484
10 | 26.28.1 | Supplying, fitting and fixing of 125 mm dia stainless steel floor grating in traps or in drains including making holes in walls/floors and mending good the damages with cement mortar (1:4) etc. all complete approved and accepted by the Engineer- in- charge. | Nos | 4 | 257 | 1028
11 | 26.34 | Supplying 100 mm inside dia best quality uPVC soil, waste and ventilation pipe having specific gravity 1.35-1.45, wall thickness 3.4- 4.0 mm, and other physical, chemical, themal, fire resistivity properties etc. as per BSTI approved manufacturer standards or ASTM, BS/ISO/IS standards fitting and fixing in position with sockets, bends, with all accessories such as round grating/domed roof grating bands, sockets etc. approved and accepted by the Engineer- in- charge | Rm | 9.15 | 617 | 5645.55
12 | 26.37 | Supplying different inside dia best quality uPVC pressure pipe for water supply having specific gravity 1.35 - 1.45, and other physical, chemical, themal, fire resistivity properties etc. as per BSTI approved manufacturer standards or ASTM, BS/ISO/IS standards fitted and fixed in position with sockets, bends, with all accessories such as Round grating/domed roof grating, bends, sockets etc. approved and accepted by the Engineer in-charge.(a) 26.37.1 12 mm dia wall thickness 1.7 mm - 2.8 mm | Rm | 15.24 | 102 | 1554.48
|  | (b)26.37.2 19 mm dia wall thickness 1.9 mm - 2.9 mm | Rm | 15.24 | 140 | 2133.6
|  | (c) 26.37.3 25 mm dia wall thickness 2.2 mm - 3.4 mm | Rm | 15.24 | 164 | 2499.36
13 | 26.45.1 | Supplying and laying uPVC pipe for for underground including fitting, fixing etc. all complete approved and accepted by the Engineer- in- charge. 150 mm dia with wall thickness 4.5 mm - 6.6 mm uPVC pipe | Rm | 15.24 | 913 | 13914.12
14 | 26.52.1 | Supplying, fitting and fixing of best quality faucets etc. complete approved and accepted by the Engineer- in- charge. 12 mm CP bib cock | Nos | 3 | 1014 | 3042
15 | 26.53.1 | Supplying, fitting and fixing of best quality CP pillar cock etc. complete approved and accepted by the Engineer- in- charge. 12 mm CP medium quality pillar cock | Nos | 3 | 1231 | 3693
16 | 26.63.2 | Supplying, fitting and fixing of angle stop cock etc. complete approved and accepted by the Engineer- in- charge.12 mm CP medium quality surface & standard angle stop cock | Nos | 4 | 804 | 3216
17 | 26.64.1 | Groove cutting in brick work and R.C.C work, including cost for concealing of G.I. pipe work (12 mm and 20 mm dia) in brick wall by cutting groove in wall, lintel, beam etc. by any means carefully without damaging the structure and filling the grooves with C.C (4:2:1) after laying of pipe including cost of scaffolding, finishing, curing etc. all complete approved and accepted by the Engineer- in- charge. Groove size 40 mm x 40 mm (For laying 12 mm to 20 mm dia pipes) | Rm | 51.83 | 65 | 3368.95
18 | 26..65.1 | Supplying and fitting-fixing cleansing shower for ablution including holder etc. all complete approved and accepted by the Engineer- in- charge Fixed type 100 mm CP shower rose | Nos | 1 | 658 | 658
19 | 26.66.2 | Supplying and fitting-fixing hand / push shower for ablution including holder etc. all complete approved and accepted by the Engineer- in- charge.Moving type push shower | Nos | 1 | 967 | 967
20 | 26.67.1 | Supplying, fitting and fixing of food graded plastic overhead water reservoir tank including all necessary fittings, hardware and consumables etc. all complete approved and accepted by the Engineer- in- charge 500 liter capacity | Nos | 1 | 6626 | 6626
21 | 26.82.1 | Construction and placing of R.C.C inspection pit cover (slab) with supplying and provisions for placing, fitting, fixing 450 mm dia C.I. man-hole cover with locking/un locking arrangement including concrete (1:2:4) with approx. 1% re-enforcement, necessary earth cutting, or cleaning, side filling, curing etc. with minimum 12 mm cement plaster (1:4) and neat cement finishing on edges and top all complete and accepted by the Engineer- in- charge. 950 mm x 950 mm x 75 mm R.C.C. pit cover with 450 mm dia C.I. manhole cover. | Nos | 2 | 2280 | 4560
22 | As per Analysis | Construction of septic tank of different sizes with walls of brick work in cement mortar (1:6) having a lining of minimum 125 mm R.C.C cast against the walls as per approved type plan over a brick flat soling and 150 mm thick reinforced cement concrete flooring (1:2:4) with 125 mm thick walls in partition and 12 mm thick cement plaster (1:4) with N.C.F. to insides of walls on floor and all around outside walls by 450 mm height at top including supplying, fitting and fixing of two R.C.C. Tees and providing 450 mm dia water sealed heavy type C.I. manhole cover with locking/unlocking arrangement and 100 mm thick R.C.C (1:2:4) top slab, including centering, shuttering, fabricating, casting and curing etc. complete up to required depth including necessary earth work in excavation and shoring, bailing out water and side filling including the cost of all materials, operations and incidental charges. etc. all complete as per type plan approved and accepted by the Engineer-in-charge (Rate is including cost of reinforcement and its fabrication, binding and placing).As per Drawing and Desing all complete accepted by the Engineer-in-charge | Nos | One Job | 28485 | 28485
23 | 26.16 | Supplying, fitting and fixing of single bowl stainless steel sink with sink tray (size 450 mm x 1050 mm) with heavy type CI steel brackets, 12 mm dia C.P. bib-cock, 40 mm dia C.P. chain plug, 40 mm dia C.P. waste, 40 mm dia PVC waste pipe with brass coupling (750 mm length) including making hole in walls and floors and mending good the damages, finishing with 1:4 cement mortar etc. all complete approved and accepted by the Engineer-in-charge. (Malaysia / Singapore / Thailand made or equivalent) | Nos | 1 | 4144 | 4144
24 | 26.56.2 | Supplying, fitting and fixing of best quality concealed fixed sink cock etc. complete approved and accepted by the Engineer-in-charge.12 mm CP concealed moving cock | Nos | 1 | 1504 | 1504
25 | 26.80.1 | Construction of masonry inspection pit with 250 mm thick brick work in cement mortar (1:4) including necessary earth work, side filling and one layer brick flat soling, 75 mm thick (1:3:6) base concrete for making invert channel and 12 mm thick (1:2) cement plaster with neat finishing etc. all complete up to a depth of 700 mm approved and accepted by the Engineer- in- charge. Clear 450 mm x 450 mm and depth 450 mm to 600 mm, average 525 mm for single 150 mm dia R.C.C. pipes and 400 mm PVC pipe. | Nos | 2 | 3530 | 7060
26 | 26.34 | Supplying 100 mm inside dia best quality uPVC soil, waste and ventilation pipe having specific gravity 1.35-1.45, wall thickness 3.4- 4.0 mm, and other physical, chemical, themal, fire resistivity properties etc. as per BSTI approved manufacturer standards or ASTM, BS/ISO/IS standards fitting and fixing in position with sockets, bends, with all accessories such as round grating/domed roof grating bands, sockets etc. approved and accepted by the Engineer- in- charge. | Rm | 12.19 | 617 | 7521.23
Sub-Total TK (Part-B) = | [5 empty] | 125647.29
PART-C: SUBMERSIBLE PUMP INSTALLATION WORKS
Item No | PWD Schedule Sl No: | Description of Work | Unit | Qty | Unit Rate (TK) | Amount (TK)
1 | C.1.0 | Supplying, fitting of upto 1.5 Hp submergible pump at reasonable depth from EGL including 100 mm dia uPVC pipe with expanded top pipes at EGL (200 mm dia at least 3' length) Reducer , tube-well pipes strainer blind pipe pipe cap etc fitting and fixing with best quality uPVC solution iron screws and uPVC tape and placing in position with proper size boring setting commissioning etc all complete as per standard practice and accepted by the Engineering -in-charge |  |  |  | 0
2 | C.1.1 | Upto 1.5-HP pump including all fittings | 1 | 1 | 24569 | 24569
3 | C.1.2 | 200 mm dia-boring upto 125 ft including 100 mm dia tube-well pipes strainer, blind pipe, 38mm dia sinking pipe, fitting and necessary materials | Rft | 125 | 436 | 54500
Sub-Total TK (Part-C) = | [5 empty] | 79069
PART-D: ELECTRICAL WORKS
Item No | PWD Schedule Sl No: | Description of Work | Unit | Qty | Unit Rate (TK) | Amount (TK)
1 | 1.1.7(iv) | Concealed conduit wiring for following point looping at the switch board with earth terminal with 1C-2x1.5 sqmm PVC insuated cable (BYA) & same size PVC insulated ECC(BYA) Green / White color including circuit wiring with IC-2x2.5 sqmm PVC insulated cable (BYA) & same size PVC insulated ECC (BYA) (Green / White color) through PVC conduit (one conduit from switch board to common point on ceiling is considered to draw 3 pair of cable) of reputed manufacturer) of minimum 25 mm dia & 1.5 mm wall thickness complete with 18 SWG GP sheet / PVC switch board pull box with 3mm thick ebonite sheet cover, fixing materials etc.(without switch) as required including mending the damages good. All electrical contacts shall be of brass / copper connected through connector or soldering (no twisting shall be allowed) and cables shall be manufactured and tested according to relevant IEC / BDS / BS / VDE standards and as per detailed specification mentioned in Annexure-1. The work shall be carried out as per direction & approval of the Engineer.Cable manufacturer(s) must have valid test certificate from internationally accrediated laboratory (like CPRI, KEMA etc) accepted / approved by the Engineer Light / exhaust or wall bracket fan point | Nos | 22 | 800 | 17600
2 | 1.1.7(v) | Concealed conduit wiring for following point looping at the switch board with earth terminal with 1C-2x1.5 sqmm PVC insuated cable (BYA) & same size PVC insulated ECC(BYA) Green / White color including circuit wiring with IC-2x2.5 sqmm PVC insulated cable (BYA) & same size PVC insulated ECC (BYA) (Green / White color) through PVC conduit (one conduit from switch board to common point on ceiling is considered to draw 3 pair of cable) of reputed manufacturer) of minimum 25 mm dia & 1.5 mm wall thickness complete with 18 SWG GP sheet / PVC switch board pull box with 3mm thick ebonite sheet cover, fixing materials etc.(without switch) as required including mending the damages good. All electrical contacts shall be of brass / copper connected through connector or soldering (no twisting shall be allowed) and cables shall be manufactured and tested according to relevant IEC / BDS / BS / VDE standards and as per detailed specification mentioned in Annexure-1. The work shall be carried out as per direction & approval of the Engineer.Cable manufacturer(s) must have valid test certificate from internationally accrediated laboratory (like CPRI, KEMA etc) accepted / approved by the Enginee Fan point | Nos | 4 | 800 | 3200
3 | 1.2.9.8 | Concealed conduit wiring with the following PVC insulated stranded cable (BYA) & PVC insulated Green / White colour ECC wire (BYA) through PVC conduit of reputed manufacturer complete with 18 SWG GP sheet pull box with 3mm thick ebonite sheet cover, fixing materials, other accessories etc. as required including mending the damages good. All electrical contacts shall be of brass / copper connected through connector or soldering (no twisting shall be allowed) and cables shall be manufactured and tested according to relevant IEC / BDS / BS / VDE standards and as per detailed specification mentioned in Annexure-A The work shall be carried out as per direction & approval of the Engineer. Cables manufacturer(s) must have valid test certificate from internationally accredite laboratory (like CPRI KEMA etc) accepted/approved by the Engineer. 1C-2x2.5sqmm (BYA) cable with 2.5sqmm (BYA) ECC wire through PVC pipe of minimum inner dia 16 mm having wall thickness of 1.5 mm | Meter | 200 | 150 | 30000
4 | 6A.27.1 (iii) | Supply & fixing of the following manufacturers by DYNAMIC (DEIL) / MEP (NICE / SEMEL) / METRO / SUPER STAR/ENERGYPAC/ENERGY + or equivalent brand accepted / approved by the Engineer . Round Type holder | Nos | 18 | 42 | 756
5 | 6A.20.4 | Supply & fixing of the following energy savings lamp (CFL) having Illuminate even at low voltage as 110 volts. Built in short circuit & over voltage protection feature & 8000 hrs (minimum) lifetime , 230V / 250V, 50Hz manufacturers by OSRAM / PHILIPS / ENERGYPAC / CBE / CORONA / HAVELLS / GE EDISION / EASTERN / PRODIP / MEP / METRO / HARMONICS / SUPERSTAR/ TRANSTEC / ENERGY+ or equivalent brand accepted / approved by the Engineer .23 watt spiral screw type lamp E-27 | Nos | 18 | 296 | 5328
6 | 6A.5(ii).(b).2 | Supply & fixing LED spot light fitting of the following features and model with all necessary elements such as driver, chips etc. complete model as sample shall be approved by the Engineer .12W | Nos | 1 | 906 | 906
7 | 4.11.2(ii) | Providing & fixing 250 volts. 5 / 6 amps (minimum) concealed type following switch / switch socket manufactured and tested in accordance with relevant IEC / VDE / NEMA / BS / JIS standards mounted on required size 18 SWG galvanized plain sheet / PVC board (Self-extinguishing 650oC) of 76.2 mm (3") depth. All electrical contacts shall be of brass / copper Made in HONGKONG / MALAYSIA / SINGAPORE / S KOREA / THAILAND .Two gang Switch | Nos | 3 | 404 | 1212
8 | 4.11.2(iii) | Providing & fixing 250 volts. 5 / 6 amps (minimum) concealed type following switch / switch socket manufactured and tested in accordance with relevant IEC / VDE / NEMA / BS / JIS standards mounted on required size 18 SWG galvanized plain sheet / PVC board (Self-extinguishing 650oC) of 76.2 mm (3") depth. All electrical contacts shall be of brass / copper Made in HONGKONG / MALAYSIA / SINGAPORE / S KOREA / THAILAND .Three gang Switch | Nos | 4 | 525 | 2100
9 | 4.11.2(iv) | Providing & fixing 250 volts. 5 / 6 amps (minimum) concealed type following switch / switch socket manufactured and tested in accordance with relevant IEC / VDE / NEMA / BS / JIS standards mounted on required size 18 SWG galvanized plain sheet / PVC board (Self-extinguishing 650oC) of 76.2 mm (3") depth. All electrical contacts shall be of brass / copper Made in HONGKONG / MALAYSIA / SINGAPORE / S KOREA / THAILAND .Four gang Switch | Nos | 1 | 586 | 586
10 | 4.11.2(v) | Providing & fixing 250 volts. 5 / 6 amps (minimum) concealed type following switch / switch socket manufactured and tested in accordance with relevant IEC / VDE / NEMA / BS / JIS standards mounted on required size 18 SWG galvanized plain sheet / PVC board (Self-extinguishing 650oC) of 76.2 mm (3") depth. All electrical contacts shall be of brass / copper Made in HONGKONG / MALAYSIA / SINGAPORE / S KOREA / THAILAND. One gang switch & one 5 amps 2-pin socket combined. | Nos | 5 | 404 | 2020
11 | 4.12.(ii) | Providing & fixing 250 volts. 5 / 6 amps (minimum) concealed type following switch / switch socket manufactured and tested in accordance with relevant IEC / VDE / NEMA / BS / JIS standards mounted on required size 18 SWG galvanized plain sheet / PVC board (Self-extinguishing 650oC) of 76.2 mm (3") depth. All electrical contacts shall be of brass / copper Made in HONGKONG / MALAYSIA / SINGAPORE / S KOREA / THAILAND.Gang type Fan Regulator | Nos | 4 | 887 | 3548
12 | 4.10.1.(ii) | Providing & fixing 250 volt single phase 3-pin combined switch socket outlet (surface / Concealed type) manufactured and tested in accordance with relevant IEC / VDE / NEMA / BS / JIS standards mounted on required size 18 SWG galvanized plain sheet board / Plastic Board (Self-extinguishing 650oC) of 76.2 mm. (3") depth. (Manufacturer shall have certificate of standard which they follow). Made in HONGKONG / MALAYSIA / SINGAPORE / S KOREA / THAILAND | Nos | 6 | 586 | 3516
13 | 18.1.1(ii) | Supplying & fixing AC capacitor type ceiling fan (without regulator) of following specifications and sizes complete with minimum 305 mm (1 ft) long and 0.75 -1.0" dia, 2.3 mm thickness MS pipe down rod, tempered cast aluminum blades, 2.5 µf 400V AC capacitor, canopy, double Z ball bearing, best quality silicon sheet core, best quality copper made super enamel wire, aluminum alloyed casting body having safety pin with powder coated heat / docu paint as required etc. connecting PVC wire complete as required.Rated voltage : 220 volts Rated frequency : 50 Hz Rated speed : 300 rpm ± 10 % Service value : Minimum 2.8 m3 / min / watt Temperatur rise : Maximum 70ºC Class of insulation : Class-E 1400 mm (56") sweep SEC Glob/ BRB Lovely /super star peimium /jamuna super deluxe or equivalent brand accepted/approved by the Engineer. Input Power:Max 75 watt | Nos | 4 | 3502 | 14008
14 | 18.4.2 | Providing & fixing U type fan clamp made of 15.87 mm. (5/8") dia MS rod as per sample approved by the Engineer. | Nos | 4 | 157 | 628
15 | 4.1(ii) | Providing & fixing 250V, 50 Hz grade following concealed type sub-distribution board made of plactic insulated (self-extinguishing 650 dec C) complete with hinged type transparent plastic door, built-in type locking arrangement, one no. 60 A capacity bus-bar with required no. of holes thereon on insulators at both ends, copper blocks for neutral and earth terminal, SPMCBs having minimum breaking capacity 6 / 10-KA with thermal over current and instantaneous electromagnetic short ckt. release, necessary arrangement for fixing of MCBs in/c epoxy resin powder coat painted etc complete. Box manufactured by ABB /Legrand or equivalent product and with SPMCBS of ABB/ HAVELLS / LEGRAND / MERLIN GERIN / Lo/ ORPS/ KAWAMURA/HAGER or equivalent brand accepted / approved by the engineer. 6-Way SPDB in coming : 1x60 amps Out-going :6x5/10/15/20 amps. SPMCB | No | 1 | 11773 | 11773
16 |  | Application fee for Electric Meter Connection (Govt. fee) at actual cost. (Tenderers are requested to please confirm the actual fees before submitting the tender | Job | L/S | 10000 | 10000
Sub-Total TK (Part-D) = | [5 empty] | 107181
TOTAL= | [5 empty] | 1343617.63
(Including VAT & TAX) Grand Total= | [5 empty] | 1343617.63
(In Woard: Taka Thirteen Lac Forty Three Thousand Six Hundred Eighteen Only)
The Quoted Rate is:
Description |  |  | Amount in figure(TK) |  | Amount in Word(TK)
At par of the Schedule Rates
-------- %(In Figure & Word) Less Than The Schedule of Rates
------- % (In Figure & Word)Above Than The Schedule of Rates
Signature of the Tenderer |  | Upazila Project Implementation officer (PIO) | Upazila Nirbahi officer (UNO)
With date & Seal
………………………………………………… |  | …………………………………. |  | ………………………………
Md. Rejwonul Haque |  | Md. |  | M Idris Siddiqui
Assistant Engineer |  | Deputy Project Director |  | Project Director (Additional Secretary)
Bir Nibash Project (Molwa) |  | Bir Nibash Project (Molwa) |  | Bir Nibash Project (Molwa)